## all
No. | Part Description | Category | Part Serial No. | Quantity | Measurement Unit | Location | Status | Date | Issued By | Notes
1 | AC isolation plug | tester | N/A | 1 | piece | cabin | In Stock | 14/07/2025 |  | PM for J750
2 | Adapter | Spare Parts | N/A | 1 | pc | Cabin 7, gray box | In Stock | 30/06/2025
3 | Aerotape Self-Adhesive EPDM Foam Tape 2" | General accessory | N/A | 8 | pcs | Cabin 7, in Aerotape Box | In Stock | 30/06/2025
4 | Aerotape Self-Adhesive EPDM Foam Tape 2" | General accessory | N/A | 2 | pcs | Cabin 7, gray box | In Stock | 30/06/2025
5 | Aerotape Self-Adhesive EPDM Foam Tape 2" | General accessory | N/A | 2 | pcs | Cabin 7, gray box | In Stock | 30/06/2025
6 | Base Wood | General accessory | N/A | 4 | pcs | Cabin 7, Shelf A, Level6 | In Stock | 30/06/2025
7 | Blot pogo pad | General accessory | 574-762-00 B | 1 | pc | Cabin 7, in GTS White Box | In Stock | 30/06/2025
8 | Braid Hose Fitting | General accessory | N/A | 1 | pc | Cabin 7, Iin Plastic Storage Box (Gray) | In Stock | 30/06/2025
9 | Cable Assembly USB A-B Connector 4-COM | Spare Parts | N/A | 1 | pc | Cabin 7, in GTS White Box | In Stock | 30/06/2025
10 | Cas clip kit | General accessory | TDN-615-890-00 | 1 | bag | Cabin 7, in GTS White Box 5 | In Stock | 30/06/2025
11 | Case Computer J750 | General accessory | N/A | 1 | pc | Cabin 7 | In Stock | 30/06/2025
12 | Cassatte block | General accessory | N/A | 0 | pcs | Cabin 7 | In Stock | 30/06/2025
13 | Chiller Connect Cable (X3) | Spare Parts | N/A | 1 | pc | Cabin 7, Shelf A, Level3 | In Stock | 30/06/2025
14 | Chiller Connect Cable (X4) | Spare Parts | N/A | 1 | pc | Cabin 7, Shelf A, Level3 | In Stock | 30/06/2025
15 | Chiller Connect Cable (X7) | Spare Parts | N/A | 1 | pc | Cabin 7, Shelf A, Level3 | In Stock | 30/06/2025
16 | Chiller Connect Cable (X9) | Spare Parts | N/A | 1 | pc | Cabin 7, Shelf A, Level3 | In Stock | 30/06/2025
17 | Chiller Tube | Spare Parts | N/A | 1 | box | Cabin 7, Box 1 | In Stock | 30/06/2025
18 | Clean foam | Prober | N/A | 1 | piece | cabin | In Stock | 14/07/2025 |  | PM for UF2000
19 | Clear Acrylic Circle | Spare Parts | N/A | 1 | pc | Cabin 7, Shelf A, Level3 | In Stock | 30/06/2025
20 | Coiled Air Hose | Spare Parts | N/A | 1 | pc | Cabin 7, Gray box | In Stock | 30/06/2025
21 | Desoloering Braio | Spare Parts | N/A | 1 | pc | Cabin 7, in front of Shelf A | In Stock | 30/06/2025
22 | Digital Pressure Gauge | General accessory | TDN-822-793-01 | 1 | pc | Cabin 7, in GTS White Box 5 | In Stock | 30/06/2025
23 | Drierite Drying Tube | Spare Parts | TDN-361-761-00 | 11 | pcs | Cabin 7, in GTS White Box 9 | In Stock | 30/06/2025
24 | DSP-V1 HDD Back up | General accessory | ZKP05RER | 1 | pc | Cabin 7, in GTS White Box 2 | In Stock | 30/06/2025
25 | Dummy Wafer | Spare Parts | N/A | 17 | pcs | Cabin 7, Wood box | In Stock | 30/06/2025
26 | DVI to VGA Adapter | Spare Parts | N/A | 1 | pc | Cabin 7, in GTS White Box 3 | In Stock | 30/06/2025
27 | E panel kit for all machine types (Nordson) | General accessory | 6382564 | 1 | box | Cabin 7 | In Stock | 30/06/2025
28 | ECOVARIO 414 AR-BW-000-000 (Advantech) | General accessory | 6382617 | 1 | box | Cabin 7 | In Stock | 30/06/2025
29 | EMO Cover | General accessory | N/A | 9 | pcs | Cabin 7, EMO Box | In Stock | 30/06/2025
30 | ESD Material | General accessory | N/A | 1 | pc | Cabin 7, Shelf A, Level 6 | In Stock | 30/06/2025
31 | ESD Material | Spare Parts | TDN-450-107-00 | 1 | PC | Cabin 7, Shelf B, Levels 5 | In Stock | 30/06/2025
32 | Eye Bolt | Spare Parts | N/A | 1 | pc | Cabin 7, Box W1 | In Stock | 30/06/2025
33 | Filter | General accessory | N/A | 2 | pcs | Cabin 7, Box T3 | In Stock | 30/06/2025
34 | Fuse 1A | Spare Parts | 471-065-00 | 3 | pc | Cabin 7, in GTS White Box 3 | In Stock | 30/06/2025
35 | Fuse 3A | Spare Parts | 471-080-00 | 1 | pc | Cabin 7, in GTS White Box 3 | In Stock | 30/06/2025
36 | Grease Gun | Prober | N/A | 1 | piece | Cabin 7, Shelf A, Level 3 | In Stock | 14/07/2025 |  | PM for UF2000
37 | Grease Klübersynth Bem 34-32 | tester | N/A | 1 | tube | cabin 7 , Box W2 | In Stock | 14/07/2025 |  | PM for UltraFlex – HD
38 | Green ESD Rubber Sheet | General accessory | N/A | 3 | pcs | Cabin 7, Shelf A, Level6 | In Stock | 30/06/2025
39 | Green plate | General accessory | N/A | 1 | pc | Cabin 7, Shelf A, Level6 | In Stock | 30/06/2025
40 | HDD J750 | Spare Parts | WFL726F7 | 1 | pc | Cabin 7, in GTS White Box 2 | In Stock | 30/06/2025
41 | Holder | Spare Parts | TDN-822-784-00 | 1 | PC | Cabin 7, Shelf B, Levels 3 | In Stock | 30/06/2025
42 | Hose Bands (size 15.0) | General accessory | N/A | 1 | pc | Cabin 7, Box T3 | In Stock | 30/06/2025
43 | Hose Bands (size 22.0) | General accessory | N/A | 1 | pc | Cabin 7, Box T3 | In Stock | 30/06/2025
44 | HP Hard Disk | General accessory | 3KN0JL2L | 1 | pc | Cabin 7, in GTS White Box 2 | In Stock | 30/06/2025
45 | HP Hard Disk | General accessory | 3KN0ABLQ | 1 | pc | Cabin 7, in GTS White Box 2 | In Stock | 30/06/2025
46 | HUMI DRI | Spare Parts | N/A | 1 | bucket | Cabin 7 | In Stock | 30/06/2025
47 | Inspection Tray Assy | General accessory | N/A | 1 | pc | Cabin 7, Box T3 | In Stock | 30/06/2025
48 | Inspection Tray Assy (200) | General accessory | N/A | 1 | pc | Cabin 7, Box T3 | In Stock | 30/06/2025
49 | Interface Box (APC-Sensor-Box V.4) | Tester & Prober | N/A | 3 | pcs | Cleanroom, Shelf Level 7 | In Stock | 30/06/2025
50 | Interseroh Recycling | General accessory | N/A | 1 | box | Cabin 7, in Packing box Tokyo Electron Linited 1 | In Stock
51 | J750 Interfaceboard for external. DPS | Spare Parts | N/A | 1 | pc | Cabin 7, Shelf B, Levels 2 | In Stock | 30/06/2025
52 | JIG (NUT) | General accessory | N/A | 1 | bag | Cabin 7, Iin Plastic Storage Box (Gray) | In Stock | 30/06/2025
53 | Keyboard | General accessory | N/A | 1 | pc | Cabin 7, Shelf B, Level4 | In Stock | 30/06/2025
54 | Keyence Corporation | General accessory | N/A | 4 | pcs | Cabin 7, Shelf A, Level5 | In Stock | 30/06/2025
55 | Keyence Fan SJ-F5010 | Spare Parts | N/A | 2 | pcs | Cabin 7, Shelf A, Level5 | In Stock | 30/06/2025
56 | KLA+ Process Probe | Spare Parts | N/A | 1 | pc | Cabin 7, Shelf A, Level4 | In Stock | 30/06/2025
57 | Lithium Niobate Wafer | Spare Parts | N/A | 2 | pcs | Cabin 7, in GTS White Box 6(Careful) | In Stock | 30/06/2025
58 | Locket Probecard | Spare Parts | N/A | 1 | pc | Cabin 7, Shelf A, Level5 | In Stock | 30/06/2025
59 | M.O. | Prober | N/A | 1 | disk | Cabin 7, Shelf A, Level6 | In Stock | 14/07/2025 |  | PM for UF2000
60 | Magneto optical disk | General accessory | N/A | 1 | pc | Cabin 7, in GTS White Box 2 | In Stock | 30/06/2025
61 | Masking tape | General accessory | N/A | 2 | pcs | Cabin 7, Iin Plastic Storage Box (Gray) | In Stock | 30/06/2025
62 | Master Board PRVX Packaging | Spare Parts | N/A | 1 | box | PC Box | In Stock | 30/06/2025
63 | New part bag | General accessory | N/A | 1 | pc | Cabin 7, in GTS White Box 8 | In Stock | 30/06/2025
64 | Nikon SMZ460 (Microscope) | Spare Parts | 1078527 | 1 | pc | Cabin 7, in front of Shelf B level1 | In Stock | 30/06/2025
65 | Old part bag | General accessory | SPF-051-24 | 1 | pc | Cabin 7, in GTS White Box 8 | In Stock | 30/06/2025
66 | Orange Plastic Funnel | General accessory | N/A | 2 | pcs | Cabin 7, in GTS White Box 1 | In Stock | 30/06/2025
67 | PCB FA0142D Key cont | General accessory | N/A | 1 | pc | Cabin 7, in Package Black Box 1 infineon | In Stock | 30/06/2025
68 | Pneumatic tubing (Black & Blue) | General accessory | N/A | 2 | pcs | Cabin 7, in W3 | In Stock | 30/06/2025
69 | Poco Pad | General accessory | TDN-873-576-01 | 5 | pcs | Cabin 7, in GTS White Box 8 | In Stock | 30/06/2025
70 | Poco Pin | Spare Parts | N/A | 1 | bag | Cabin 7, in GTS White Box 1 | In Stock | 30/06/2025
71 | Probe Card Holder | Spare Parts | N/A | 1 | pc | Cabin 7, Shelf A, Level5 | In Stock | 30/06/2025
72 | Probe Interface Board | Spare Parts | 579-486-00B | 1 | pc | Cabin 7, Shelf B, Levels 3 | In Stock | 30/06/2025
73 | rubber | Spare Parts | TDN-579-287-00 | 1 | pc | Cabin 7, Shelf B, Levels 3 | In Stock | 30/06/2025
74 | Safety sign sticker | General accessory | N/A | 1 | pc | Cabin 7, Shelf A, Level4 | In Stock | 30/06/2025
75 | Screw Driver | General accessory | N/A | 1 | pc | Cabin 7, Iin Plastic Storage Box (Gray) T3 | In Stock | 30/06/2025
76 | Seal | Spare Parts | 534-003-00B | 1 | pc | Cabin 7, in GTS White Box 3 | In Stock | 30/06/2025
77 | Silicon Gun | peripheral | N/A | 1 | piece | Cabin 7, Shelf A, Level4 | In Stock | 14/07/2025 |  | PM for Dragonfly
78 | Silicon Peiece (100x40) | General accessory | N/A | 1 | pc | Cabin 7, Iin Plastic Storage Box (Gray) T3 | In Stock | 30/06/2025
79 | Silicone Sealant | Spare Parts | N/A | 2 | pc | Cabin 7, Shelf A, Level3 | In Stock | 30/06/2025
80 | Small nut | General accessory | TDN-838-193-07 | 1 | pc | Cabin 7, in GTS White Box 3 | In Stock | 30/06/2025
81 | Small screwdriver | General accessory | TDN-479-609-03 | 1 | pc | Cabin 7, in GTS White Box 3 | In Stock | 30/06/2025
82 | Sticky tape | General accessory | N/A | 1 | pc | Cleanroom, Shelf Level 4 GTS White box 1 | In Stock | 30/06/2025
83 | Switching Adapter 36W | Spare Parts | N/A | 1 | pc | Cabin 7, in GTS White Box 9 | In Stock | 30/06/2025
84 | Temperature Control | Spare Parts | 0923-16842 | 1 | pc | Cabin 7, Shelf B, Level 1 | In Stock | 30/06/2025
85 | Temperature Control (Bad) | Spare Parts | 1011-03950 | 1 | pc | Cabin 7, Shelf B, Level 1 | In Stock | 30/06/2025
86 | Temperature Control (on) | Spare Parts | 0923-16842 | 1 | pc | Cabin 7, Shelf B, Level 1 | In Stock | 30/06/2025
87 | Temperature Control (under) | Spare Parts | 1011-03950 | 1 | pc | Cabin 7, Shelf B, Level 1 | In Stock | 30/06/2025
88 | Temperature Control Module | Spare Parts | FE24120-F103-00 1/1 | 2 | pc | Cabin 7, Shelf A, Level6 | In Stock | 30/06/2025 |  | The one with the sticker on the back is work
89 | Temperature Control Module | Spare Parts | FE24120-F103-00 1/1 | 2 | pc | Cabin 7, Shelf A, Level4 | In Stock | 30/06/2025 |  | The one with the sticker on the back is work
90 | Teradye Tool power connector height | Spare Parts | TDN-574-856-10 | 1 | PC | Cabin 7, Shelf B, Levels 3 | In Stock | 30/06/2025
91 | THK AFE-CA (728370) grease | peripheral | N/A | 1 | tube | cabin Shelf A, Level3 | In Stock | 14/07/2025 |  | PM for Dragonfly
92 | Threaded rod | General accessory | N/A | 7 | pcs | Cabin 7, Iin Plastic Storage Box (Gray) | In Stock | 30/06/2025
93 | Threaded rod | General accessory | N/A | 7 | pcs | Cabin 7, Box T3 | In Stock | 30/06/2025
94 | Torque Driver (4N R) | General accessory | N/A | 1 | pc | Cabin 7, Iin Plastic Storage Box (Gray) | In Stock | 30/06/2025
95 | Tube | Spare Parts | 534-003-00B | 1 | pc | Cabin 7, in GTS White Box 3 | In Stock | 30/06/2025
96 | Tube | General accessory | 534-078-00 | 1 | pc | Cabin 7, in GTS White Box 3 | In Stock | 30/06/2025
97 | Tube Air | Spare Parts | N/A | 1 | roll | Cabin 7, in Package Black Box 2 | In Stock | 30/06/2025 |  | Move to CR
98 | TV DELL Box | General accessory | N/A | 1 | box | Cabin 7, in Packing box Tokyo Electron Linited 1 | In Stock | 30/06/2025
99 | UFLEX calibration DIB | Tester | 579-554-00 | 1 | pc | Cleanroom, Shelf Level 4 | In Stock | 30/06/2025
100 | UFLEX RF Probe Card calibration | Tester | 620-667-00 | 1 | pc | Cleanroom, Shelf Level 2 | In Stock | 30/06/2025
101 | UFLEX RF Probe Card calibration | Tester | 620-667-10 | 1 | pc | Cleanroom, Shelf Level 2 | In Stock | 30/06/2025
102 | UFLEX RF Probe Card calibration | Tester | 620-667-20 | 1 | pc | Cleanroom, Shelf Level 2 | In Stock | 30/06/2025
103 | UFLEX RF Probe Card loopback kit | Tester | 620-648-00 | 1 | pc | Cleanroom, Shelf Level 2 | In Stock | 30/06/2025
104 | Unknow Box | General accessory | N/A | 1 | box | Cabin 7, in Packing box Tokyo Electron Linited 1 | In Stock | 30/06/2025
105 | USB Dual Bay Hard Drive Docking Station | General accessory | N/A | 1 | pc | Cabin 7, in GTS White Box 2 | In Stock | 30/06/2025
106 | Vacumm | General accessory | N/A | 1 | roll | Cleanroom, Shelf Level 3 | In Stock | 30/06/2025
107 | VGA Y-Splitter Cable | Spare Parts | 338285-001 | 1 | pc | Cabin 7, in GTS White Box 3 | In Stock | 30/06/2025
108 | Wafer Probing Maching | Spare Parts | N/A | 1 | pc | Cabin 7, Shelf B, Levels 5 | In Stock | 30/06/2025
109 | Wafer Probing Maching | Spare Parts | N/A | 1 | pc | Cabin 7, Shelf B, Levels 5 | In Stock | 30/06/2025
110 | Washer | General accessory | N/A | 1 | pc | Cabin 7, Iin Plastic Storage Box (Gray) | In Stock | 30/06/2025
111 | Washer | General accessory | N/A | 1 | pc | Cabin 7, Box T3 | In Stock | 30/06/2025
112 | Water filter | Spare Parts | N/A | 1 | pc | Cabin 7, in Package Black Box (POCO Tower J750) | In Stock | 30/06/2025
113 | Water tube | Spare Parts | N/A | 1 | pc | Cabin 7, Shelf B, Levels 2 | In Stock | 30/06/2025
114 | White Bucket | General accessory | N/A | 1 | pc | Cabin 7 | In Stock | 30/06/2025
115 | White Bucket | General accessory | N/A | 1 | pc | Cabin 7 | In Stock | 30/06/2025
116 | White Plastic Box (Fourth) | Spare Parts | 731319 | 1 | pc | Cabin 7, Shelf B, Level 1 | In Stock | 30/06/2025
117 | White Plastic Box (Second) | Spare Parts | N/A | 1 | pc | Cabin 7, Shelf B, Level 1 | In Stock | 30/06/2025
118 | White Plastic Box (SPF050-19) | General accessory | N/A | 1 | box | Cabin 7 | In Stock | 30/06/2025
119 | White Plastic Box (Third) | Spare Parts | 766517 | 1 | pc | Cabin 7, Shelf B, Level 1 | In Stock | 30/06/2025
120 | White Plastic Box (W6) | Spare Parts | N/A | 1 | pc | Cabin 7, Shelf A, Level 2 | In Stock | 30/06/2025
121 | White Plastic Box (WID) ( First) | Spare Parts | N/A | 1 | pc | Cabin 7, Shelf B, Level 1 | In Stock | 30/06/2025
122 | White Plastic Box (WID) ( First) | Spare Parts | N/A | 1 | pc | Cabin 7, Shelf A, Level 2 | In Stock | 30/06/2025
123 | White Plastic Equipment | Spare Parts | N/A | 1 | box | Cabin 7, Side shelf B | In Stock
124 | White Plastic Washing Machine Drain Pipe | General accessory | N/A | 2 | pcs | Cabin 7, in Packing box Tokyo Electron Linited 1 | In Stock | 30/06/2025
125 | White Plastic Washing Machine Drain Pipe | General accessory | N/A | 2 | pcs | Cabin 7, Box W3 | In Stock | 30/06/2025
126 | Wire RG 58C/U | General accessory | N/A | 1 | pc | Cabin 7, in GTS White Box 1 | In Stock | 30/06/2025
127 | Wire Spare Parts | Spare Parts | N/A | 2 | pc | Cabin 7, in GTS White Box 2 | In Stock | 30/06/2025
128 | Wire Spare Parts | Spare Parts | N/A | 2 | pc | Cabin 7, in GTS White Box 2 | In Stock | 30/06/2025
129 | wrench hex | General accessory | TDN-579-680-00 | 1 | pc | Cabin 7, in GTS White Box 3 | In Stock | 30/06/2025
130 | YAZAKI Cable Type THW 450/750V. (Green) | General accessory | N/A | 1 | pc | Cabin 7, in Package Black Box (POCO Tower J750) | In Stock | 30/06/2025 |  | Move to CR

## Manage
Part Description
Chiller Connect Cable (X3) | 1 time
Chiller Connect Cable (X4) | 1 time
Chiller Connect Cable (X7) | 1 time
Chiller Connect Cable (X9) | 1 time
Clean room cloths | 1 time
Component Testers | 1 time
Cotton Bud | 1 time
Dry cloth | 1 time
DSP-V1 Ready | 1 time
DVI to VGA Cable Adapter | 1 time
Enterprise Storage | 1 time
Filter | 1 time
Fuse 1A | 1 time
Fuse 3A | 1 time
HDD J750 | 1 time
HDD U-Flex 19 | 1 time
HP Hard Disk | 1 time
Interface Box | 1 time
Interface Box (APC-Sensor-Box V.4) | 1 time
JBC DR560-A desoldering iron | 1 time
Lithium Niobate Wafer | 1 time
M.O. | 1 time
Masking tape | 1 time
Sticky tape | 1 time
Vacumm | 1 time
Washer | 1 time
Water filter | 1 time
3M™ Novec™ 7200 Engineered Fluid | 3 day
Adapter | 3 day
Adapter 5V 2.6A | 3 day
Adjustable Rubber Feet | 3 day
Base Wood | 3 day
Battery pack with connector (Fujitsu) | 3 day
BIT (H4) | 3 day
Blackwire5220 Box | 3 day
Board.Cal.750.02 | 3 day
Braid Hose Fitting | 3 day
Cable | 3 day
Cable Assembly USB A-B Connector 4-COM | 3 day
Cable Carrier | 3 day
Cassatte block | 3 day
Clear Acrylic Circle | 3 day
Coiled Air Hose | 3 day
Connection Cable | 3 day
CPU HP | 3 day
DBL Banana, Shielded Line | 3 day
DC Power Module (Keysight technologies) | 3 day
Desiccant Packet Bag | 3 day
Desoloering Braid | 3 day
Digital Pressure Gauge | 3 day
DSP-V1 system flash drive | 3 day
Dummy Wafer | 3 day
Electronic board | 3 day
Electronic board 103-5 | 3 day
Elektrofeldmeter | 3 day
Emitter point replacement kit (725719) | 3 day
ESD Material | 3 day
Eye Bolt | 3 day
Fittings (size 12:12) | 3 day
Fittings (size 12:2x12) | 3 day
Fittings (size 6:10) | 3 day
Fittings (size 6:6) | 3 day
Fittings (size 6:8) | 3 day
Fittings (size 8:10) | 3 day
Fittings (size 8:8) | 3 day
Flange clamp jig (2" HUB) | 3 day
Framegraber Set | 3 day
Grease Gun | 3 day
Grease gun (719941) | 3 day
Green ESD Rubber Sheet | 3 day
Hose Bands (size 22.0) | 3 day
Inspection Tray Assy | 3 day
Inspection Tray Assy (200) | 3 day
Interface Box (APC-Sensor-Box V.4) | 3 day
ISOFLEX Grease (NBU15) | 3 day
J750 calibration DIB | 3 day
J750 Interfaceboard for external. DPS | 3 day
JIG (NUT) | 3 day
JIG (NUT) | 3 day
JIG (NUT) | 3 day
Keyboard | 3 day
Keyence Corporation | 3 day
Keyence Fan SJ-F5010 | 3 day
KLA+ Process Probe | 3 day
LAN Cable | 3 day
LAPP KABEL UNITRONIC | 3 day
Magneto optical disk | 3 day
Motherboard Casing for J750 | 3 day
NSK NF2 grease | 3 day
Pneumatic tubing (Black & Blue) | 3 day
Power Cable | 3 day
Power Plug | 3 day
Probe Card Holder | 3 day
Probe Interface Board | 3 day
Rack Accessories Box | 3 day
Screw Driver | 3 day
Sealing Head | 3 day
Silicon Peiece (100x40) | 3 day
Silicone Sealant | 3 day
Socket Head Cap Screws | 3 day
Stainless Steel Storage Box | 3 day
Switching Adapter 36W | 3 day
Temperature Control Module | 3 day
THK AFE-CA (728370) grease | 3 day
Threaded rod | 3 day
Torque Driver (4N R) | 3 day
Tube | 3 day
USB Dual Bay Hard Drive Docking Station | 3 day
Wafer Probing Machine | 3 day
White Plastic Box (Fourth) | 3 day
White Plastic Box (Second) | 3 day
White Plastic Box (SPF050-19) | 3 day
White Plastic Box (Third) | 3 day
White Plastic Box (WID) ( First) | 3 day
White Plastic Equipment | 3 day
White Plastic Washing Machine Drain Pipe | 3 day
Wire RG 58C/U | 3 day
AC isolation plug
Accretech Tokyo Seimitsu Box
Aerotape Box
Aerotape Self-Adhesive EPDM Foam Tape 2"
Aerotape Self-Adhesive EPDM Foam Tape 2"
Aerotape Self-Adhesive EPDM Foam Tape 2"
BK PRECISION Box
Blank box
Chiller Tube
Cleaning Unit
Cleanroom Computer Table
Color Coated Yellow Canopy Guard, For Industrial
DMS-59 to 2xVGA Y-Splitter Cable
Drierite Drying Tube
Dryer
E panel kit for all machine types (Nordson)
ECOVARIO 414 AR-BW-000-000 (Advantech)
Electronic Component Kit
Formfactor Box
Grease Klübersynth Bem 34-32
Green plate
Ground Cable
GTS White Box
GTS White Box (Careful)
GTS White Box 1
GTS White Box 2
GTS White Box 3
GTS White Box 5
GTS White Box 9
Handle
Hose Bands (size 15.0)
HUMI DRI
Interseroh Recycling
IPA
LAPP KABEL STUTTGART
LGU Grease
Lithium low dusting grease LG2 (NSK)
Locket Probecard
LOT ID:ACCESSORY (UPE)
Master Board PRVX Packaging
ML192
New part bag
Nikon SMZ460 (Microscope)
NOVEC HFE-7200
NSK NF2 grease
Old part bag
OPIB Cable 2 Meter
Orange Plastic Funnel
Package Black Box (POCO Tower J750)
Package Black Box 1
Package Black Box 2
Package Poco Tower
Packaged Plastic Bag
Packing box Tokyo Electron Linited 1
Packing box Tokyo Electron Linited 2
Packing box Tokyo Electron Linited 3
PCB FA0142D Key cont
Perforated Metal Sheet
Plastic Storage Box (Gray)
Plug Head
Poco Pad
Poco Pin
Power Cable
Probe Card Case
Prober Mini Com
Prober Steel beam
Prostat
Protective Foam
Road Case (Black)
RZ588
Safety sign sticker
Schuko F-Type Power Connector
Sealer GREISINGERO2 (UPE)
Spare Part
Spare Part
Spare Parts
Spare Parts
Spare Parts
Spare Parts
Spare Parts
Tube Air
TV DELL Box
UFLEX calibration DIB
UFLEX RF Probe Card calibration
UFLEX RF Probe Card loopback kit
Unknow Box
Water tube
White Bucket
Wire Spare Parts
YAZAKI Cable Type THW 450/750V. (Green)

## QuantitY
Part Description | Quantity
3M™ Novec™ 7200 Engineered Fluid | 1
AC isolation plug | 1
Accretech Tokyo Seimitsu Box | 1
Adapter | 1
Adapter 5V 2.6A | 1
Adjustable Rubber Feet | 2
Aerotape Box | 1
Aerotape Self-Adhesive EPDM Foam Tape 2" | 8
Aerotape Self-Adhesive EPDM Foam Tape 2" | 2
Aerotape Self-Adhesive EPDM Foam Tape 2" | 2
Base Wood | 4
Battery pack with connector (Fujitsu) | 1
BIT (H4) | 2
BK PRECISION Box | 1
Blackwire5220 Box | 1
Blank box | 11
Board.Cal.750.02 | 1
Braid Hose Fitting | 1
Cable | 1
Cable Assembly USB A-B Connector 4-COM | 1
Cable Carrier | 2
Cassatte block | 9
Chiller Connect Cable (X3) | 1
Chiller Connect Cable (X4) | 1
Chiller Connect Cable (X7) | 1
Chiller Connect Cable (X9) | 1
Chiller Tube | 1
Clean room cloths | 1
Cleaning Unit | 1
Cleanroom Computer Table | 5
Clear Acrylic Circle | 1
Coiled Air Hose | 1
Color Coated Yellow Canopy Guard, For Industrial | 9
Component Testers | 1
Connection Cable | 1
Cotton Bud | 1
CPU HP | 1
DBL Banana, Shielded Line | 2
DC Power Module (Keysight technologies) | 4
Desiccant Packet Bag | 1
Desoloering Braio | 1
Digital Pressure Gauge | 1
DMS-59 to 2xVGA Y-Splitter Cable | 1
Drierite Drying Tube | 11
Dry cloth | 1
Dryer | 1
DSP-V1 Ready | 1
DSP-V1 system flash drive | 1
Dummy Wafer | 17
DVI to VGA Cable Adapter | 1
E panel kit for all machine types (Nordson) | 1
ECOVARIO 414 AR-BW-000-000 (Advantech) | 1
Electronic board | 1
Electronic board 103-5 | 1
Electronic Component Kit | 1
Elektrofeldmeter | 1
Emitter point replacement kit (725719) | 1
Enterprise Storage | 1
ESD Material | 1
Eye Bolt | 1
Filter | 3
Fittings (size 12:12) | 4
Fittings (size 12:2x12) | 2
Fittings (size 6:10) | 1
Fittings (size 6:6) | 1
Fittings (size 6:8) | 4
Fittings (size 8:10) | 2
Fittings (size 8:8) | 6
Flange clamp jig (2" HUB) | 1
Formfactor Box | 1
Framegraber Set | 1
Fuse 1A | 3
Fuse 3A | 1
Grease Gun | 1
Grease gun (719941) | 1
Grease Klübersynth Bem 34-32 | 1
Green ESD Rubber Sheet | 3
Green plate | 1
Ground Cable | 1
GTS White Box | 1
GTS White Box (Careful) | 1
GTS White Box 1 | 1
GTS White Box 2 | 1
GTS White Box 3 | 1
GTS White Box 5 | 1
GTS White Box 9 | 1
Handle | 1
HDD J750 | 1
HDD U-Flex 19 | 1
Hose Bands (size 15.0) | 1
Hose Bands (size 22.0) | 1
HP Hard Disk | 2
HUMI DRI | 1
Inspection Tray Assy | 1
Inspection Tray Assy (200) | 1
Interface Box | 1
Interface Box (APC-Sensor-Box V.4) | 3
Interseroh Recycling | 1
IPA | 1
ISOFLEX Grease (NBU15) | 1
J750 calibration DIB | 1
J750 Interfaceboard for external. DPS | 1
JBC DR560-A desoldering iron | 1
JIG (NUT) | 1
JIG (NUT) | 1
JIG (NUT) | 1
Keyboard | 1
Keyence Corporation | 4
Keyence Fan SJ-F5010 | 2
KLA+ Process Probe | 1
LAN Cable | 8
LAPP KABEL STUTTGART | 1
LAPP KABEL UNITRONIC | 1
LGU Grease | 1
Lithium low dusting grease LG2 (NSK) | 1
Lithium Niobate Wafer | 2
Locket Probecard | 1
LOT ID:ACCESSORY (UPE) | 1
M.O. | 1
Magneto optical disk | 6
Masking tape | 3
Master Board PRVX Packaging | 1
ML192 | 1
Motherboard Casing for J750 | 5
New part bag | 1
Nikon SMZ460 (Microscope) | 1
NOVEC HFE-7200 | 1
NSK NF2 grease | 1
Old part bag | 1
OPIB Cable 2 Meter | 2
Orange Plastic Funnel | 2
Package Black Box (POCO Tower J750) | 1
Package Black Box 1 | 1
Package Black Box 2 | 1
Package Poco Tower | 6
Packaged Plastic Bag | 1
Packing box Tokyo Electron Linited 1 | 1
Packing box Tokyo Electron Linited 2 | 1
Packing box Tokyo Electron Linited 3 | 1
PCB FA0142D Key cont | 1
Perforated Metal Sheet | 3
Plastic Storage Box (Gray) | 1
Plug Head | 5
Pneumatic tubing (Black & Blue) | 2
Poco Pad | 17
Poco Pin | 1
Power Cable | 1
Power Plug | 1
Probe Card Case | 1
Probe Card Holder | 3
Probe Interface Board | 2
Prober Mini Com | 1
Prober Steel beam | 1
Prostat | 1
Protective Foam | 1
Rack Accessories Box | 1
Road Case (Black) | 1
RZ588 | 1
Safety sign sticker | 1
Schuko F-Type Power Connector | 2
Screw Driver | 1
Sealer GREISINGERO2 (UPE) | 2
Sealing Head | 1
Silicon Peiece (100x40) | 1
Silicone Sealant | 2
Socket Head Cap Screws | 3
Spare Part | 7
Stainless Steel Storage Box | 2
Sticky tape | 1
Switching Adapter 36W | 1
Temperature Control (on) | 1
Temperature Control (under) | 1
Temperature Control Module | 2
THK AFE-CA (728370) grease | 1
Threaded rod | 7
Torque Driver (4N R) | 1
Tube | 1
Tube Air | 1
TV DELL Box | 1
UFLEX calibration DIB | 1
UFLEX RF Probe Card calibration | 3
UFLEX RF Probe Card loopback kit | 1
Unknow Box | 1
USB Dual Bay Hard Drive Docking Station | 1
Vacumm | 1
Wafer Probing Maching | 1
Washer | 1
Water filter | 1
Water tube | 1
White Bucket | 1
White Plastic Box (Fourth) | 1
White Plastic Box (Second) | 1
White Plastic Box (SPF050-19) | 1
White Plastic Box (Third) | 1
White Plastic Box (WID) ( First) | 1
White Plastic Equipment | 1
White Plastic Washing Machine Drain Pipe | 2
Wire RG 58C/U | 1
Wire Spare Parts | 2
YAZAKI Cable Type THW 450/750V. (Green) | 1

## 1 time
Part Description
Chiller Connect Cable (X3)
Chiller Connect Cable (X4)
Chiller Connect Cable (X7)
Chiller Connect Cable (X9)
Clean room cloths
Component Testers
Cotton Bud
Dry cloth
DSP-V1 Ready
DVI to VGA Cable Adapter
Enterprise Storage
Filter
Fuse 1A
Fuse 3A
HDD J750
HDD U-Flex 19
HP Hard Disk
Interface Box
Interface Box (APC-Sensor-Box V.4)
JBC DR560-A desoldering iron
Lithium Niobate Wafer
M.O.
Masking tape
Sticky tape
Vacumm
Washer
Water filter

## 3 day
Part Description
3M™ Novec™ 7200 Engineered Fluid
Adapter
Adapter 5V 2.6A
Adjustable Rubber Feet
Base Wood
Battery pack with connector (Fujitsu)
BIT (H4)
Blackwire5220 Box
Board.Cal.750.02
Braid Hose Fitting
Cable
Cable Assembly USB A-B Connector 4-COM
Cable Carrier
Cassatte block
Clear Acrylic Circle
Coiled Air Hose
Connection Cable
CPU HP
DBL Banana, Shielded Line
DC Power Module (Keysight technologies)
Desiccant Packet Bag
Desoloering Braio
Digital Pressure Gauge
DSP-V1 system flash drive
Dummy Wafer
Electronic board
Electronic board 103-5
Elektrofeldmeter
Emitter point replacement kit (725719)
ESD Material
Eye Bolt
Fittings (size 12:12)
Fittings (size 12:2x12)
Fittings (size 6:10)
Fittings (size 6:6)
Fittings (size 6:8)
Fittings (size 8:10)
Fittings (size 8:8)
Flange clamp jig (2" HUB)
Framegraber Set
Grease Gun
Grease gun (719941)
Green ESD Rubber Sheet
Hose Bands (size 22.0)
Inspection Tray Assy
Inspection Tray Assy (200)
Interface Box (APC-Sensor-Box V.4)
ISOFLEX Grease (NBU15)
J750 calibration DIB
J750 Interfaceboard for external. DPS
JIG (NUT)
JIG (NUT)
JIG (NUT)
Keyboard
Keyence Corporation
Keyence Fan SJ-F5010
KLA+ Process Probe
LAN Cable
LAPP KABEL UNITRONIC
Magneto optical disk
Motherboard Casing for J750
NSK NF2 grease
Pneumatic tubing (Black & Blue)
Power Cable
Power Plug
Probe Card Holder
Probe Interface Board
Rack Accessories Box
Screw Driver
Sealing Head
Silicon Peiece (100x40)
Silicone Sealant
Socket Head Cap Screws
Stainless Steel Storage Box
Switching Adapter 36W
Temperature Control (on)
Temperature Control Module
THK AFE-CA (728370) grease
Threaded rod
Torque Driver (4N R)
Tube
USB Dual Bay Hard Drive Docking Station
Wafer Probing Machine
White Plastic Box (Fourth)
White Plastic Box (Second)
White Plastic Box (SPF050-19)
White Plastic Box (Third)
White Plastic Box (WID) ( First)
White Plastic Equipment
White Plastic Washing Machine Drain Pipe
Wire RG 58C/U